## Bus_Data
Bus | Type | Pload_MW | Qload_Mvar | Volt_pu | Angle_deg | Vmax_pu | Vmin_pu
1 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
2 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
3 | 3 | 322 | 2.4 | 1.03 | 0 | 1.06 | 0.94
4 | 3 | 500 | 184 | 1.01 | 0 | 1.06 | 0.94
5 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
6 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
7 | 3 | 233 | 84 | 1 | 0 | 1.06 | 0.94
8 | 3 | 522 | 176 | 1 | 0 | 1.06 | 0.94
9 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
10 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
11 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
12 | 3 | 8.5 | 88 | 1 | 0 | 1.06 | 0.94
13 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
14 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
15 | 3 | 320 | 153 | 1 | 0 | 1.06 | 0.94
16 | 3 | 329 | 32.3 | 1 | 0 | 1.06 | 0.94
17 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
18 | 3 | 158 | 30 | 1 | 0 | 1.06 | 0.94
19 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
20 | 3 | 628 | 103 | 1 | 0 | 1.06 | 0.94
21 | 3 | 274 | 115 | 1 | 0 | 1.06 | 0.94
22 | 3 | 0 | 0 | 1 | 0 | 1.06 | 0.94
23 | 3 | 247 | 84 | 1 | 0 | 1.06 | 0.94
24 | 3 | 308 | 92 | 1 | 0 | 1.06 | 0.94
25 | 3 | 224 | 47.2 | 1 | 0 | 1.06 | 0.94
26 | 3 | 139 | 17 | 1 | 0 | 1.06 | 0.94
27 | 3 | 281 | 75.5 | 1 | 0 | 1.06 | 0.94
28 | 3 | 206 | 27.6 | 1 | 0 | 1.06 | 0.94
29 | 3 | 283.5 | 26.9 | 1 | 0 | 1.06 | 0.94
30 | 2 | 20 | 0 | 1.0475 | 0 | 1.06 | 0.94
31 | 1 | 9.2 | 4.6 | 0.982 | 0 | 1.06 | 0.94
32 | 2 | 13 | 0 | 0.9831 | 0 | 1.06 | 0.94
33 | 2 | 15 | 0 | 0.9972 | 0 | 1.06 | 0.94
34 | 2 | 10 | 0 | 1.0123 | 0 | 1.06 | 0.94
35 | 2 | 12 | 0 | 1.0493 | 0 | 1.06 | 0.94
36 | 2 | 30 | 0 | 1.0635 | 0 | 1.06 | 0.94
37 | 2 | 14 | 0 | 1.0278 | 0 | 1.06 | 0.94
38 | 2 | 12 | 0 | 1.0265 | 0 | 1.06 | 0.94
39 | 2 | 1104 | 250 | 1.03 | 0 | 1.06 | 0.94

## Feeder_Data
Feeder_ID | Source_Bus | Load_MW | Non_shedable_feeder | Status
F3-1 | 3 | 83.94 | 0 | 1
F3-2 | 3 | 29.92 | 0 | 1
F3-3 | 3 | 77.38 | 0 | 1
F3-4 | 3 | 60 | 0 | 1
F3-5 | 3 | 70.76 | 0 | 1
F4-1 | 4 | 90 | 4.8 | 1
F4-2 | 4 | 128.71 | 8.72 | 1
F4-3 | 4 | 70 | 15.69 | 1
F4-4 | 4 | 63.59 | 11.93 | 1
F4-5 | 4 | 36.51 | 8.86 | 1
F4-6 | 4 | 41.37 | 0 | 1
F4-7 | 4 | 69.82 | 0 | 1
F7-1 | 7 | 39.73 | 0 | 1
F7-2 | 7 | 28.33 | 0 | 1
F7-3 | 7 | 94.65 | 0 | 1
F7-4 | 7 | 70.29 | 0 | 1
F8-1 | 8 | 119.4 | 18.89 | 1
F8-2 | 8 | 79.56 | 20.97 | 1
F8-3 | 8 | 57.31 | 15.48 | 1
F8-4 | 8 | 113.12 | 4.22 | 1
F8-5 | 8 | 70 | 20.44 | 1
F8-6 | 8 | 82.61 | 0 | 1
F12-1 | 12 | 8.5 | 0 | 1
F15-1 | 15 | 79.26 | 0 | 1
F15-2 | 15 | 94.56 | 0 | 1
F15-3 | 15 | 112.99 | 0 | 1
F15-4 | 15 | 33.19 | 0 | 1
F16-1 | 16 | 70.63 | 0 | 1
F16-2 | 16 | 123.07 | 0 | 1
F16-3 | 16 | 66.71 | 0 | 1
F16-4 | 16 | 68.59 | 0 | 1
F18-1 | 18 | 56.16 | 0 | 1
F18-2 | 18 | 36.61 | 0 | 1
F18-3 | 18 | 65.23 | 0 | 1
F20-1 | 20 | 78.92 | 20.12 | 1
F20-2 | 20 | 93.16 | 14.28 | 1
F20-3 | 20 | 55.51 | 15.22 | 1
F20-4 | 20 | 61.36 | 24.45 | 1
F20-5 | 20 | 60 | 25.93 | 1
F20-6 | 20 | 80 | 0 | 1
F20-7 | 20 | 95 | 0 | 1
F20-8 | 20 | 64.05 | 0 | 1
F20-9 | 20 | 40 | 0 | 1
F21-1 | 21 | 66.73 | 0 | 1
F21-2 | 21 | 43.12 | 0 | 1
F21-3 | 21 | 69.88 | 0 | 1
F21-4 | 21 | 94.27 | 0 | 1
F23-1 | 23 | 55.76 | 0 | 1
F23-2 | 23 | 33.4 | 0 | 1
F23-3 | 23 | 96.07 | 0 | 1
F23-4 | 23 | 61.77 | 0 | 1
F24-1 | 24 | 134.46 | 11.34 | 1
F24-2 | 24 | 39.83 | 14.29 | 1
F24-3 | 24 | 76.67 | 16.51 | 1
F24-4 | 24 | 57.04 | 22.86 | 1
F25-1 | 25 | 27.03 | 0 | 1
F25-2 | 25 | 57.11 | 0 | 1
F25-3 | 25 | 66.22 | 0 | 1
F25-4 | 25 | 73.64 | 0 | 1
F26-1 | 26 | 70 | 0 | 1
F26-2 | 26 | 69 | 30 | 1
F27-1 | 27 | 105.97 | 0 | 1
F27-2 | 27 | 32.42 | 0 | 1
F27-3 | 27 | 45.63 | 0 | 1
F27-4 | 27 | 96.98 | 0 | 1
F28-1 | 28 | 28.19 | 0 | 1
F28-2 | 28 | 66.69 | 0 | 1
F28-3 | 28 | 47.91 | 0 | 1
F28-4 | 28 | 63.21 | 0 | 1
F29-1 | 29 | 84.85 | 16.59 | 1
F29-2 | 29 | 91.32 | 17.29 | 1
F29-3 | 29 | 75.38 | 22.02 | 1
F29-4 | 29 | 31.95 | 19.1 | 1
F30-1 | 30 | 20 | 20 | 1
F31-1 | 31 | 9.2 | 9.2 | 1
F32-1 | 32 | 13 | 13 | 1
F33-1 | 33 | 15 | 15 | 1
F34-1 | 34 | 10 | 10 | 1
F35-1 | 35 | 12 | 12 | 1
F36-1 | 36 | 30 | 30 | 1
F37-1 | 37 | 14 | 14 | 1
F38-1 | 38 | 12 | 12 | 1
F39-1 | 39 | 300 | 300 | 1
F39-2 | 39 | 450 | 450 | 1
F39-3 | 39 | 354 | 354 | 1

## Region_Data
Bus | Region_ID | Critical | Non_shedable_bus
1 | 2 | 1
2 | 2 | 1
3 | 6 | 0
4 | 6 | 0 | 50
5 | 5 | 1
6 | 5 | 1
7 | 5 | 0
8 | 5 | 0 | 80
9 | 5 | 1
10 | 5 | 1
11 | 5 | 1
12 | 5 | 0
13 | 5 | 1
14 | 4 | 1
15 | 4 | 0
16 | 4 | 0
17 | 2 | 1
18 | 2 | 0
19 | 4 | 1
20 | 4 | 0 | 100
21 | 3 | 0
22 | 3 | 1
23 | 3 | 0
24 | 3 | 0 | 40
25 | 2 | 0
26 | 2 | 1
27 | 2 | 0
28 | 1 | 0
29 | 1 | 0 | 35
30 | 2 | 1
31 | 5 | 1
32 | 5 | 1
33 | 4 | 1
34 | 4 | 1
35 | 3 | 1
36 | 3 | 1
37 | 2 | 1
38 | 1 | 1
39 | 6 | 1

## Line_Data
From | To | R_pu | X_pu | B_pu | Tap_Magnitude | Tap_Angle_deg | Status
1 | 2 | 0.0035 | 0.0411 | 0.6987 | 0 | 0 | 1
1 | 39 | 0.001 | 0.025 | 0.75 | 0 | 0 | 1
2 | 3 | 0.0013 | 0.0151 | 0.2572 | 0 | 0 | 1
2 | 25 | 0.007 | 0.0086 | 0.146 | 0 | 0 | 1
3 | 4 | 0.0013 | 0.0213 | 0.2214 | 0 | 0 | 1
3 | 18 | 0.0011 | 0.0133 | 0.2138 | 0 | 0 | 1
4 | 5 | 0.0008 | 0.0128 | 0.1342 | 0 | 0 | 1
4 | 14 | 0.0008 | 0.0129 | 0.1382 | 0 | 0 | 1
5 | 6 | 0.0002 | 0.0026 | 0.0434 | 0 | 0 | 1
5 | 8 | 0.0008 | 0.0112 | 0.1476 | 0 | 0 | 1
6 | 7 | 0.0006 | 0.0092 | 0.113 | 0 | 0 | 1
6 | 11 | 0.0007 | 0.0082 | 0.1389 | 0 | 0 | 1
7 | 8 | 0.0004 | 0.0046 | 0.078 | 0 | 0 | 1
8 | 9 | 0.0023 | 0.0363 | 0.3804 | 0 | 0 | 1
9 | 39 | 0.001 | 0.025 | 1.2 | 0 | 0 | 1
10 | 11 | 0.0004 | 0.0043 | 0.0729 | 0 | 0 | 1
10 | 13 | 0.0004 | 0.0043 | 0.0729 | 0 | 0 | 1
13 | 14 | 0.0009 | 0.0101 | 0.1723 | 0 | 0 | 1
14 | 15 | 0.0018 | 0.0217 | 0.366 | 0 | 0 | 1
15 | 16 | 0.0009 | 0.0094 | 0.171 | 0 | 0 | 1
16 | 17 | 0.0007 | 0.0089 | 0.1342 | 0 | 0 | 1
16 | 19 | 0.0016 | 0.0195 | 0.304 | 0 | 0 | 1
16 | 21 | 0.0008 | 0.0135 | 0.2548 | 0 | 0 | 1
16 | 24 | 0.0003 | 0.0059 | 0.068 | 0 | 0 | 1
17 | 18 | 0.0007 | 0.0082 | 0.1319 | 0 | 0 | 1
17 | 27 | 0.0013 | 0.0173 | 0.3216 | 0 | 0 | 1
21 | 22 | 0.0008 | 0.014 | 0.2565 | 0 | 0 | 1
22 | 23 | 0.0006 | 0.0096 | 0.1846 | 0 | 0 | 1
23 | 24 | 0.0022 | 0.035 | 0.361 | 0 | 0 | 1
25 | 26 | 0.0032 | 0.0323 | 0.513 | 0 | 0 | 1
26 | 27 | 0.0014 | 0.0147 | 0.2396 | 0 | 0 | 1
26 | 28 | 0.0043 | 0.0474 | 0.7802 | 0 | 0 | 1
26 | 29 | 0.0057 | 0.0625 | 1.029 | 0 | 0 | 1
28 | 29 | 0.0014 | 0.0151 | 0.249 | 0 | 0 | 1
12 | 11 | 0.0016 | 0.0435 | 0 | 1.006 | 0 | 1
12 | 13 | 0.0016 | 0.0435 | 0 | 1.006 | 0 | 1
6 | 31 | 0 | 0.025 | 0 | 1.07 | 0 | 1
10 | 32 | 0 | 0.02 | 0 | 1.07 | 0 | 1
19 | 33 | 0.0007 | 0.0142 | 0 | 1.07 | 0 | 1
20 | 34 | 0.0009 | 0.018 | 0 | 1.009 | 0 | 1
22 | 35 | 0 | 0.0143 | 0 | 1.025 | 0 | 1
23 | 36 | 0.0005 | 0.0272 | 0 | 1 | 0 | 1
25 | 37 | 0.0006 | 0.0232 | 0 | 1.025 | 0 | 1
2 | 30 | 0 | 0.0181 | 0 | 1.025 | 0 | 1
29 | 38 | 0.0008 | 0.0156 | 0 | 1.025 | 0 | 1
19 | 20 | 0.0007 | 0.0138 | 0 | 1.06 | 0 | 1

## Generator_Data
Gen_ID | Bus | Pg_MW | Qg_Mvar | Qmax_Mvar | Qmin_Mvar | Pmax_MW | Pmin_MW | Vg_pu | mBase_MVA | Status | H_s | D | Ra_pu | Xd1_pu | Xq1_pu | Xd_pu | Xq_pu | Tdo1_s | Tqo1_s | Xl_pu | freq
1 | 39 | 1000 | 0 | 400 | 0 | 1100 | 0 | 1.0475 | 100 | 1 | 500 | 1.2 | 0.05 | 0.006 | 0.008 | 0.02 | 0.019 | 7 | 0.7 | 0.003 | 49.9997
2 | 31 | 0 | 221 | 300 | -150 | 646 | 0 | 0.982 | 100 | 1 | 30.3 | 1.2 | 0.05 | 0.0697 | 0.17 | 0.295 | 0.282 | 6.56 | 1.5 | 0.035 | 49.9996
3 | 32 | 650 | 206 | 300 | -100 | 725 | 0 | 0.9831 | 100 | 1 | 35.8 | 1.2 | 0.05 | 0.0531 | 0.0876 | 0.2495 | 0.237 | 5.7 | 1.5 | 0.0304 | 49.9995
4 | 33 | 632 | 108 | 250 | 0 | 652 | 0 | 0.9972 | 100 | 1 | 28.6 | 1.2 | 0.05 | 0.0436 | 0.166 | 0.262 | 0.258 | 5.69 | 1.5 | 0.0295 | 49.9997
5 | 34 | 508 | 166 | 167 | -167 | 508 | 0 | 1.0123 | 100 | 1 | 26 | 1.2 | 0.05 | 0.132 | 0.166 | 0.67 | 0.62 | 5.4 | 0.44 | 0.054 | 49.9995
6 | 35 | 650 | 210 | 300 | -100 | 687 | 0 | 1.0493 | 100 | 1 | 34.8 | 1.2 | 0.05 | 0.05 | 0.0814 | 0.254 | 0.241 | 7.3 | 0.4 | 0.0224 | 49.9992
7 | 36 | 460 | 100 | 240 | -100 | 580 | 0 | 1.0635 | 100 | 1 | 26.4 | 1.2 | 0.05 | 0.049 | 0.186 | 0.295 | 0.292 | 5.66 | 1.5 | 0.0322 | 49.9992
8 | 37 | 540 | 0 | 250 | 0 | 564 | 0 | 1.0278 | 100 | 1 | 24.3 | 1.2 | 0.05 | 0.057 | 0.0911 | 0.29 | 0.28 | 6.7 | 0.41 | 0.028 | 49.9995
9 | 38 | 830 | 0 | 300 | -100 | 865 | 0 | 1.0265 | 100 | 1 | 34.5 | 1.2 | 0.05 | 0.057 | 0.0587 | 0.2106 | 0.205 | 4.79 | 1.96 | 0.0298 | 49.9997
10 | 30 | 250 | 161 | 300 | -100 | 1100 | 0 | 1.03 | 100 | 1 | 42 | 1.2 | 0.05 | 0.031 | 0.008 | 0.1 | 0.069 | 10.2 | 0 | 0.0125 | 49.9993

## UFLS_Settings
Parameter | Value | Unit | Note
Base_MVA | 100 | MVA | IEEE-39 case
Base_Frequency | 50 | Hz | Project setting / Bangladesh-oriented study
Target_Frequency | 49.5 | Hz | Current project setting
Trigger_Frequency | 49.7 | Hz | To be finalized from selected UFLS research method
Delay | 0.2 | s | Sensitivity-based IEEE-39 paper
Load_Damping_Percent | 1.5 | % | BUET dynamic-adaptive study
Frequency_Sensitivity_K | 0.0015 | Hz/MW | Sensitivity-based IEEE-39 study

## Solar_Data
Solar_ID | Bus | Psolar_MW
1 | 36 | 200
2 | 39 | 500

## Solar_Factor
Date | Time | Solar_Generation_MW | Solar_Factor
08-08-2026 | 00:00 | 0 | 0
08-08-2026 | 01:00 | 0 | 0
08-08-2026 | 02:00 | 0 | 0
08-08-2026 | 03:00 | 0 | 0
08-08-2026 | 04:00 | 0 | 0
08-08-2026 | 05:00 | 0 | 0
08-08-2026 | 06:00 | 17 | 0.027287
08-08-2026 | 07:00 | 129 | 0.20706
08-08-2026 | 08:00 | 281 | 0.45104
08-08-2026 | 09:00 | 447 | 0.7175
08-08-2026 | 10:00 | 513 | 0.82344
08-08-2026 | 11:00 | 582 | 0.93419
08-08-2026 | 12:00 | 590 | 0.94703
08-08-2026 | 13:00 | 623 | 1
08-08-2026 | 14:00 | 501 | 0.80417
08-08-2026 | 15:00 | 388 | 0.62279
08-08-2026 | 16:00 | 234 | 0.3756
08-08-2026 | 17:00 | 127 | 0.20385
08-08-2026 | 18:00 | 40 | 0.064205
08-08-2026 | 19:00 | 0 | 0
08-08-2026 | 20:00 | 0 | 0
08-08-2026 | 21:00 | 0 | 0
08-08-2026 | 22:00 | 0 | 0
08-08-2026 | 23:00 | 0 | 0

## Load_Factor
Date | Time | BD_Demand_MW | Load_Factor
08-08-2026 | 00:00 | 16446 | 0.97435
08-08-2026 | 01:00 | 14805 | 0.87713
08-08-2026 | 02:00 | 14764 | 0.8747
08-08-2026 | 03:00 | 14437 | 0.85532
08-08-2026 | 04:00 | 14164 | 0.83915
08-08-2026 | 05:00 | 14092 | 0.83488
08-08-2026 | 06:00 | 13582 | 0.80467
08-08-2026 | 07:00 | 13406 | 0.79424
08-08-2026 | 08:00 | 13604 | 0.80597
08-08-2026 | 09:00 | 13739 | 0.81397
08-08-2026 | 10:00 | 13615 | 0.80662
08-08-2026 | 11:00 | 14067 | 0.8334
08-08-2026 | 12:00 | 14574 | 0.86344
08-08-2026 | 13:00 | 14902 | 0.88287
08-08-2026 | 14:00 | 14884 | 0.88181
08-08-2026 | 15:00 | 15377 | 0.91101
08-08-2026 | 16:00 | 14976 | 0.88726
08-08-2026 | 17:00 | 14896 | 0.88252
08-08-2026 | 18:00 | 14988 | 0.88797
08-08-2026 | 19:00 | 16057 | 0.9513
08-08-2026 | 20:00 | 16224 | 0.96119
08-08-2026 | 21:00 | 16879 | 1
08-08-2026 | 22:00 | 16317 | 0.9667
08-08-2026 | 23:00 | 16282 | 0.96463

## Validation_Check
Check | Result
Bus count | 39
Branch count | 46
Generator count | 10
Branches with Status=0 | 0
Branches with invalid Status | 0
10-32 status | 1
All standard branches in service | YES